## Slide 1: ETICS market in Poland: current status and future perspectives
Dr eng. Mariusz Garecki; Chairman of Technical Comision - Polish Association for ETICS
Riga 16st of March, 2016

## Slide 2
ETICS systems: main technical functions
Improving thermal insulation of external wallshal insulation of external walls
Elimination or reduction of thermal bridges
Protecting the partition from exposure to of atmospheric factors
Improving the aesthetics of the façade
…….

## Slide 3
European ETICS market size: app. 170 mln sq.m
Division between different insolation products

## Slide 4
Year | Market size
2013 | Polish ETICS market has been and remains very stable at the average level of 40 mln m2 per year
2014 | 
2015 forecast | 
PL: ETICS market size

## Slide 5
PL: ETICS market status
Division between different insolation products
Insulation products | Market share ETICS
Polystyrene EPS | 85%
Mineral wool MW | 15%
Polystyrene XPS | N/A
Phenolic foam PF | N/A
Polyurethane PU | N/A
Others, e.g. wood fibre | N/A
Source: TNS Polska, 2015, declaration of construction companies interviewed in the poll

## Slide 6
PL: ETICS market status
ETICS manufacturers – comparison of market perceptions 2011-2017
ETICS market
Construction market
Diagnosis
Forecast
[%]
worse
the same
better

## Slide 7: PL: ETICS market status Range of changes in requirements for insulation of external walls in years 1966-2021

## Slide 8: PL: ETICS market status Range of changes in requirements for insulation of external walls in years 1966-2021
Low energy buildings < 0,15 [W/m2*K]

## Slide 9
Chart: 




do 11 cm | 0.22 | 0.17 | 0.28 | 0.29 | 0.27 | 0.24
od 12 do 14 cm | 0.44 | 0.48 | 0.37 | 0.39 | 0.37 | 0.36
od 15 do 20 cm | 0.27 | 0.29 | 0.29 | 0.29 | 0.33 | 0.38
powyżej 20 cm | 0.07 | 0.06 | 0.06 | 0.03 | 0.03 | 0.02
PL: ETICS market status
Average insulation thickness – EPS
Source: TNS Polska

## Slide 10
Chart: 
| VII fala | VIII fala
do 11 cm | 0.3 | 0.26
od 12 do 14 cm | 0.28 | 0.25
od 15 do 20 cm | 0.35 | 0.42
powyżej 20 cm | 0.07 | 0.07
PL: ETICS market status
Average insulation thickness – MW
Source: TNS Polska

## Slide 11
PL ETICS market development
Summary
Specific developments / additional remarks
Very competitive market (presence of all international ETICS as well as many strong national producers)
Very well developed ETICS technology
Huge potential for the industry in renovation of buildings insulated in the 90’s
Low awareness of challenges for building industry linked to sustaible development
Despite of growing quality of work provided by erections companies over ¼ of buildings being insulated with no warranty from ETICS producer due to usage of non-system products (Source: TNS Polska, declaration of construction companies)
From 2016 new legal tools for construction supervision to control the market may improve the usage of system products

## Slide 12
ETICS: trends on the facades – basic directions

## Slide 13
Trends on the facades: main directions
energy saving: as a target - better insolation (thickness of themo insolation depends from kind of thermal insolation - l factor ), „ETICS on ETICS” technology,
safety: e.q. anchoring of system, durability, fire resistance,
real energy saving for ETICS: elimination of thermo bridges,
highly durable facades,
better workability parameters, faster application solutions,
active facades – energy generation,
fasades with function of energy acumulation,
Thermo reflection layers,
aesthetics facades: new possibilities.

## Slide 14
Trends in Facades Traditional solutions – single family houses

## Slide 15
Trends in Facades Modern solutions– single family houses

## Slide 16
Trends in Facades Multifamily block of flats

## Slide 17: Energy saving: better thermal insolation Alterntive insolation materials

## Slide 18
Energy saving: better thermal insolation
Comparison of l factors for different insolation materials

## Slide 19
Energy saving: better thermal insolation
Comparison thickness of insolation materials for the same thermal resistance factor R [m2*K/W]

## Slide 20
Energy saving: better thermal insolation Alterntive insolation materials: l factor vs. required thickness of insolation layer for the same R value (thermal resistance)
Thermo insolation layer thickness
Mass of thermo insolation layer for require thickness in different periods
thickness of insolation
will influence on
total weight of ETICS system

## Slide 21
Energy saving: better thermal insolation How greater thickness of insulation will influence on the system?
increasing the torque operating on anchors: required to increase length and load of anchors
increasing thickness of insulation layer will restricts access of light into the rooms

## Slide 22
Line bridges
3D bridges
Energy saving
Thermal bridges elimination
In places location of thermal bridges are:
wzrost gęstości strumienia cieplnego,
obniżenie temperatury powierzchni wewnętrznej.

## Slide 23
Improvement technology: workability & application technology
Durability: formation of new properties for products (e.q. nanotechnology - modification of traditional solutions)
pozzolanic effect
modification of polymers
microfibers reinforcement
density,
strength,
stiffness,
tightness
adhesion,
chemical resistance,
sealing,
crack-bridging
toughness,
crack resistance,
tensile strength
synergy

## Slide 24: Role of fibers (carbon, polyacrylamide, glass, etc. fibers): - extremaly high elasticity, - longlasting durability,
Nanotechnology in ETICS:
Nanofibers: durability of top coats

## Slide 25
Nanotechnology in ETICS:
Nanodispersions: durability of top coats
Paints before ageing
Paints after ageing: 1000 cycles of Xeno-test

## Slide 26
Nanotechnology in ETICS:
Nanofillers and aerogels: improvement durability and thermo properties

## Slide 27
Nanotechnology in ETICS:
Bio nanocapsules: improvement of facade protection

## Slide 28: Facade Solar Thermal Collector, Building integrated Photovoltaics – BiPV
Green energy technologies for ETICS

## Slide 29: Thank You for Your attention